EECA 2024 EnMS STARTER PACK

C1 · GAP ASSESSMENT

EECA EnMS Gap Assessment Checklist

Score your energy management system against GP/ST/No.46/2024 and the statutory duties of Act 861 — before the Commission does

A self-scored assessment of your organisation’s position against every required element of the Guidelines on Energy Management System [GP/ST/No.46/2024] and the statutory duties of the Energy Efficiency and Conservation Act 2024 [Act 861] and its Regulations — with the citation for every row, an ISO 50001:2018 alignment reference, and a readiness band at the end.

| DOCUMENT NO. INV-ENMS-C1 | REV 1.0 | ISSUE DATE 29 July 2026 | PREPARED BY Innovast Sdn Bhd | APPROVED BY Anslem Lim, CEO |
| --- | --- | --- | --- | --- |

Rev 1.0 · issued 29 July 2026 · regulatory sources last verified 18 July 2026.

DRAFT FOR ADAPTATION — this template is not regulatory advice. Prepared with reference to GP/ST/No.46/2024 (Guidelines on Energy Management System), the Energy Efficiency and Conservation Act 2024 [Act 861] and the Energy Efficiency and Conservation Regulations 2024 [P.U.(A) 466/2024]; sources last verified 18 July 2026. Adapt every field to your organisation before use. Only Suruhanjaya Tenaga can determine compliance with the Act.

CONTENTS

1	How to score

2	S1 — Statutory position — designation, REM and the compliance clock

3	S2 — Commitment and governance

4	S3 — Energy management policy

5	S4 — Planning — assessment, data, baseline and targets

6	S5 — Action plan

7	S6 — Implementation

8	S7 — Measuring progress and management review

9	S8 — Reporting, documentation and the EE&C report

10	Your readiness band

11	What Innovast does with this

1	How to score

Work through the eight sections with the people who actually hold the evidence — typically the registered energy manager (REM), the facility or engineering lead, and whoever owns regulatory compliance. For each row, mark exactly one box:

| Score | Meaning |
| --- | --- |
| Yes — 2 points | The requirement is met now and you could show the evidence today (document, minutes, record, dated data). |
| Partial — 1 point | Something exists but it is incomplete, out of date, undocumented, or has never been through the required approval. |
| No — 0 points | The requirement is not met, or nobody can say where the evidence is. |

Score on evidence, not intention. "The policy is being drafted" is a No. "The Committee met twice this year against the required four" is a Partial. If two people disagree on a row, score the lower answer and note why.

Column key: Citation = the Malaysian legal or guideline source for the row (Act 861; P.U.(A) 466/2024 regulations; GP/ST/No.46/2024 "GP46"; GP/ST/No.45/2024 "GP45"; GP/ST/No.47/2024 "GP47"). ISO = the broadly corresponding ISO 50001:2018 clause, shown for organisations mapping this assessment onto an existing or planned ISO 50001 system. The EECA requirements govern; ISO alignment does not substitute for them.

2	S1 — Statutory position — designation, REM and the compliance clock

Rows in this section are statutory duties under Act 861 and the EEC Regulations 2024 — they carry direct penalties and are unique to the Malaysian regime (no ISO equivalent for most).

| ID | Requirement | ISO ref | Score |
| --- | --- | --- | --- |
| S1-01 | The organisation knows its designation status: it has received Suruhanjaya Tenaga’s written notice under s.3(3), or has self-assessed its 12-consecutive-month energy consumption against the 21,600 GJ threshold. Act s.3(1)(a), s.3(3); reg 3 | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S1-02 | A registered energy manager (REM) was appointed within three months from the date of the s.3(3) written notice. Act s.5(1); reg 4(2) — penalty s.5(3): fine up to RM50,000 | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S1-03 | The REM route is documented: internal employee appointment (reg 4(1)) or external appointment (reg 6(1)). If external: the three-year expiry date (counted from the s.3(3) notice date) is diarised and an internalisation plan exists (reg 6(4)). regs 4(1), 6(1), 6(4) | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S1-04 | The REM’s qualification tier matches the consumption band: 21,600–50,000 GJ → REM meeting reg 14; above 50,000 GJ → REM meeting subregulation 14(2) or (3). reg 5(a)–(b) | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S1-05 | REM workload caps are respected: an internal REM serves no more than 7 other energy consumers that are related corporations (reg 4(4)); an external REM serves no more than 7 other energy consumers (reg 6(3)). regs 4(4), 6(3) | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S1-06 | The Commission was notified of the REM appointment by electronic means. regs 4(3), 6(2) | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S1-07 | The REM vacancy protocol is known and assigned: notice to the Commission within 14 days of the office falling vacant; internal replacement within three months (external fallback only with the Commission’s written approval). reg 7(1)–(3) — penalty for late/no vacancy notice (reg 7(1)): reg 7(4), fine up to RM10,000 | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S1-08 | The EnMS development deadline is diarised: one year from the date of the REM appointment under reg 4(1) or 6(1). Act s.6(1); reg 8 — penalty s.6(3): fine up to RM50,000 | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S1-09 | The first EE&C report deadline is diarised: within 30 days after the expiry of one year from the date of the REM appointment; the annual cycle thereafter is tracked — each subsequent report within 30 days after each successive appointment anniversary, per the GP45 Figure 1 submission timeline. Act s.7(2); reg 9(a)–(b); GP45 para. 3.2 Fig. 1 — penalty s.7(4): fine up to RM50,000 | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S1-10 | The energy audit cycle is tracked: registered energy auditor appointed (s.8(2)); first audit report submitted within one year of the s.3(3) notice, then on the fifth year for every five years; any exemption application window (first three months of the fifth year) is diarised. Act ss.8–9; reg 10 — penalties: s.8(4) (no REA appointed) and s.9(10) (report not submitted), each a fine up to RM50,000 | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
|  | Section subtotal (max 20) |  | __________ |

3	S2 — Commitment and governance (GP46 para. 4.2–4.3)

| ID | Requirement | ISO ref | Score |
| --- | --- | --- | --- |
| S2-01 | Top management commitment is documented, covering its GP46 responsibilities: review and endorse the EnMS boundary, energy policy, objectives/targets and EEI; allocate human and financial resources; endorse M&V implementation; communicate the importance of energy management; consider energy performance in long-term planning; conduct management review. GP46 para. 4.2(a)(i)–(ix) | 5.1 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S2-02 | A management representative has been appointed from among top management (or the CEO) to oversee EnMS implementation, with authority to make energy management decisions. GP46 para. 4.2(b) | 5.1/5.3 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S2-03 | An Energy Management Committee is established with multi-department representation (EHS; utility/facility/engineering O&M; production for industry; procurement and finance; human resource; administration). GP46 para. 4.3(a) | 5.3 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S2-04 | Committee duties are defined and discharged: energy policy preparation, EnMS self-evaluation, internal performance review, action plan, awareness/campaign/training, procedures approval, EnMS monitoring, M&V oversight, target revision. GP46 para. 4.3(b)(i)–(ix) | 5.3 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S2-05 | The Committee meets not less than four times a year; minutes are recorded and endorsed by the management representative. GP46 para. 4.3(b); GP47 para. 3(c)(ii)–(iii) | — (ST is more specific) | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S2-06 | The REM assists the Committee per the defined functions: objectives and targets, resources, EEI selection, internal performance review, data collection plan, action plan execution, opportunity identification, M&V for reporting savings. GP46 para. 4.3(c)(i); Act s.5(2); GP47 para. 3 | 5.3 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S2-07 | Human and financial resources for the EnMS are allocated and reflected in budgets. GP46 para. 4.2(a)(iii) | 7.1 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
|  | Section subtotal (max 14) |  | __________ |

4	S3 — Energy management policy (GP46 para. 4.4)

| ID | Requirement | ISO ref | Score |
| --- | --- | --- | --- |
| S3-01 | The energy management policy contains the four mandatory commitments: (a) continual improvement of energy performance through an action plan; (b) provision of information, data and resources; (c) compliance with any other written law; (d) support for energy-efficient products and services in new, retrofitted and renovated facilities where economically feasible. GP46 para. 4.4.1(a)–(d) | 5.2 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S3-02 | The policy is documented, implemented and promoted throughout the organisation. GP46 para. 4.4.2 | 5.2/7.3 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S3-03 | The policy is regularly reviewed against energy management performance and kept up to date. GP46 para. 4.4.2–4.4.3 | 5.2/9.3 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S3-04 | The policy is signed by the current top management. GP46 para. 4.4.3 | 5.2 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S3-05 | The policy is displayed in a conspicuous part of the premises, visible to all staff and employees. GP46 para. 4.4.4 | — (ST is more specific) | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
|  | Section subtotal (max 10) |  | __________ |

5	S4 — Planning — assessment, data, baseline and targets (GP46 para. 5)

| ID | Requirement | ISO ref | Score |
| --- | --- | --- | --- |
| S4-01 | An EnMS self-evaluation using an energy management matrix (policy; organisation; communication and motivation; monitoring and targeting; promotion, awareness and capacity; finance and budget) was conducted at Committee formation, is documented, and is re-assessed periodically. GP46 para. 5.2.3(a) | — (EECA-specific instrument) | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S4-02 | An internal EnMS performance review is conducted as the basis for self-declaration of conformity across the EnMS components, generating improvement opportunities and responding to non-conformity. GP46 para. 5.2.3(b) | 9.1/9.2 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S4-03 | The EnMS boundary is defined and covers the whole facilities of the energy consumer. GP46 para. 5.2.4(a) | 4.3 (ST is stricter — no scope carve-outs) | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S4-04 | Significant Energy Uses (SEUs) are identified by quantifying the energy consumed by facility, process or equipment. GP46 para. 2 (SEU), para. 5.2.4(a) | 6.3 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S4-05 | An inventory of operation systems, mechanical and electrical services, production processes and equipment is maintained. GP46 para. 5.2.4(b)(i) | 6.3 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S4-06 | At least twelve months of the most recent energy consumption data is collected — from utility bills at minimum, with submetering for individual SEUs where available. GP46 para. 5.2.4(b)(ii); GP47 para. 3(a)(i)(B) | 6.3/6.6 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S4-07 | On-site energy generation data (electricity kWh, chilled water RTh, steam tonnes, other) and variable data (operating hours, production volume, weather, occupancy) affecting consumption are collected. GP46 para. 5.2.4(b)(iii)–(iv) | 6.3/6.6 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S4-08 | An energy baseline is established using an EEI (SEC for industry; BEI for buildings) and/or regression analysis, with defined conditions for baseline revision. GP46 para. 5.2.4(c) | 6.4/6.5 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S4-09 | Energy benchmarking is performed — external (peer facilities or established standard values) or internal (against own baseline within 12 months or own targets). GP46 para. 5.2.4(d) | — (good practice; ISO 6.6 note) | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S4-10 | Performance targets are established from the EnMS assessment and energy performance analysis (GP46 contemplates achievement within three years of establishment — "may", not "shall"). GP46 para. 5.3.1–5.3.2 | 6.2 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
|  | Section subtotal (max 20) |  | __________ |

6	S5 — Action plan (GP46 para. 6)

| ID | Requirement | ISO ref | Score |
| --- | --- | --- | --- |
| S5-01 | Strategies are built on a gap review: EnMS self-evaluation findings, technical assessments and energy audit findings compared against targets. GP46 para. 6.0(a)(i) | 6.2 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S5-02 | Technical strategies are defined for closing the gaps — ESMs, energy management working procedures, operational guidelines, maintenance procedures. GP46 para. 6.0(a)(ii) | 6.2 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S5-03 | Capacity development is programmed: training, awareness programmes and campaigns, best-practice sharing. GP46 para. 6.0(a)(iii) | 7.2 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S5-04 | Each ESM in the action plan has a timeframe and estimated savings; prioritisation uses financial analysis (CBA, SPP, NPV, IRR or ROI). GP46 para. 6.0(b) | 6.2 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S5-05 | Each ESM has named owners with defined responsibilities (internal and external — consultants, contractors, vendors) and an estimate of cost and human resources. GP46 para. 6.0(c) | 6.2/7.1 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
|  | Section subtotal (max 10) |  | __________ |

7	S6 — Implementation (GP46 para. 7)

| ID | Requirement | ISO ref | Score |
| --- | --- | --- | --- |
| S6-01 | The progress of action plan implementation is documented. GP46 para. 7.2 | 6.2 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S6-02 | Identified energy efficiency retrofits are implemented per the prioritised list from the action plan. GP46 para. 7.3(a) | 8.1 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S6-03 | Work procedures controlling energy use in operation are implemented — how to operate processes and equipment to operational criteria, and how to adjust control parameters to optimise energy use. GP46 para. 7.3(b) | 8.1 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S6-04 | The maintenance schedule is incorporated into energy monitoring work procedures, and measuring equipment is calibrated according to plan. GP46 para. 7.4 | 7.1/9.1 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S6-05 | Work procedures exist for handling non-conformance and initiating corrective and preventive actions to minimise energy waste. GP46 para. 7.5 | 10.1 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S6-06 | A proper M&V mechanism is established and conducted for each ESM project according to its M&V plan; the M&V plan, data collection and savings analysis are documented and archived. GP46 para. 7.6 | 9.1 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S6-07 | A motivation strategy and a communication plan are implemented — platforms, frequency, target audiences, information to be delivered, and staff feedback channels (communication matrix). GP46 para. 7.7–7.8 | 7.4 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S6-08 | Awareness and capacity-building programmes run for staff, top management and stakeholders, including training. GP46 para. 7.9 | 7.2–7.3 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
|  | Section subtotal (max 16) |  | __________ |

8	S7 — Measuring progress and management review (GP46 para. 8)

| ID | Requirement | ISO ref | Score |
| --- | --- | --- | --- |
| S7-01 | A periodical internal EnMS review is implemented at least once a year to confirm the system is effectively implemented and maintained and achieves the policy, objectives and targets. GP46 para. 8.2(b) | 9.1/9.2 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S7-02 | Results are evaluated: achievements reviewed against previous EnMS assessments; energy efficiency analysed against the established EEI; benchmarking reviewed against baselines, targets and peers; ESM savings verified; staff awareness, knowledge and competency assessed. GP46 para. 8.2(a), (c)–(f) | 9.1 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S7-03 | Compliance with legal requirements is evaluated. GP46 para. 8.2(g) | 9.1 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S7-04 | A management review with top management is held at least once a year; the management representative presents the outcomes; minutes are recorded and endorsed by top management. GP46 para. 8.3; GP47 para. 3(c)(iv)–(v) | 9.3 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S7-05 | Top management decides the actions arising — policy implementation or improvement, energy targets, resources and strategies for continual improvement. GP46 para. 8.3(a)–(c) | 9.3/10.2 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
|  | Section subtotal (max 10) |  | __________ |

9	S8 — Reporting, documentation and the EE&C report

| ID | Requirement | ISO ref | Score |
| --- | --- | --- | --- |
| S8-01 | Reporting and documentation are maintained as an ongoing EnMS activity — policy, minutes, self-evaluation records, data collection plans, action plans, M&V records. GP46 para. 3.4 | 7.5 | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S8-02 | The EE&C report is prepared by the REM with the statutory content: description of the EnMS; total amount and purpose of energy and energy resources consumed; proposed EE&C improvement measures; measures implemented and yet to be implemented; any other information required by the Commission — in the GP45 structure. Act s.7(1)(a)–(e); GP45 para. 4.1 — penalty s.7(3) (REM): fine up to RM20,000 | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S8-03 | EE&C report accuracy is verified: reported data compared with actual utility bills and invoices; supporting documents (maintenance records, equipment specifications, energy audit reports) examined for alignment with physical infrastructure and operations. Act s.5(2)(e); GP47 para. 3(e) | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S8-04 | The EE&C report is submitted to the Commission through the online system within the reg 9 window. Act s.7(2); reg 9; GP45 para. 5 — penalty s.7(4): fine up to RM50,000 | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
| S8-05 | Officer-level accountability is understood: on a body-corporate offence under the Act, directors, compliance officers, partners, managers and similar officers may be charged jointly or severally and are deemed liable unless the statutory defence is made out. Act s.62 | — | ☐ 2 ☐ 1 ☐ 0 Evidence: ____________ |
|  | Section subtotal (max 10) |  | __________ |

10	Your readiness band

Add the eight section subtotals. Maximum score: 110 (55 rows × 2). Convert to a percentage: total ÷ 110 × 100.

| Total score | Band | What it means — and what to do next |
| --- | --- | --- |
| 94–110 (≥85%) | Audit-ready | Your EnMS is substantially in place. Priority: formalise the evidence trail so every Yes above survives scrutiny — minutes, endorsed policy, M&V records — and align the EE&C report data pack to GP45 before the reg 9 window. |
| 66–93 (60–84%) | Structured but exposed | The framework exists but specific rows above are Partial or No. Close the flagged gaps in citation order (statutory rows first) before the reg 8 one-year deadline consumes your calendar. |
| 39–65 (35–59%) | Foundations missing | Core elements are absent. Sequence: management representative and Committee → energy policy → data collection and baseline → action plan. The pack’s templates C2, C3, C6 and C7 map to exactly these steps. |
| 0–38 (<35%) | Starting from zero | With the reg 8 clock at one year from REM appointment, building an EnMS in-house from nothing is the high-risk path. An experienced external team compresses months of trial and error into weeks. |

Whatever the band: rows scored No in Section S1 come first. They are statutory duties with direct penalties and fixed clocks — everything else in the EnMS can be built in parallel, but a missing REM or an undiarised regulation 8 deadline compounds weekly.

11	What Innovast does with this

Bring us your scored checklist — or run the same assessment as a guided online wizard at eeca2024.my — and we will turn it into a sequenced compliance plan: which gaps close in which order, what each requires, and where the quick wins are. The first conversation is free and comes with a Level 1 desktop review of your position.

InnoSense — keep the score green all year. InnoSense, Innovast’s energy management platform, tracks your consumption, baseline and EnMS cycle continuously — so the next time you score this checklist, the evidence is already on file. Register interest at eeca2024.my · anslem@innovast.asia

The complete Starter Pack

This document is one of thirteen working documents in the EECA 2024 EnMS Starter Pack — together they stand up an energy management system that follows GP/ST/No.46/2024 and the statutory duties of Act 861.

| Code | Document | Use it to |
| --- | --- | --- |
| C0 | Pack Guide & Compliance Clock | Orient the team; diarise the statutory deadlines |
| C1 | EECA EnMS Gap Assessment Checklist | Score your current position (Yes / Partial / No) against every GP46 element and statutory duty; get a readiness band (this document) |
| C2 | Energy Management Policy Template | Draft the policy with the four GP46-mandatory commitments built in |
| C3 | Committee & Governance Kit | Appoint the management representative; constitute the Committee; run and minute the meetings and the annual management review |
| C4 | Legal & Obligations Register | Hold every Act 861 / EECR duty with citation, deadline, penalty, owner and status — the legal-compliance evaluation GP46 para. 8.2(g) expects |
| C5 | REM Appointment Checklist | Choose internal vs external appointment; respect the tiering and the caps; manage the three-year window |
| C6 | EnPI / EEI Worksheet (sector-selectable) | Establish the baseline and indicator — SEC path for industry, BEI path for buildings |
| C7 | Energy Data Collection Plan + 12-Month Consumption Tracker (xlsx) | Plan and record the twelve months of consumption, generation and variable data GP46 requires |
| C8 | Action Plan & ESM Register (docx + xlsx) | Turn audit findings into a prioritised, costed, owned action plan with M&V per ESM |
| C9 | Communication, Awareness & Training Plan | Discharge GP46 para. 7.7–7.9 — communication matrix, motivation strategy, training programme |
| C10 | EnMS Self-Evaluation Matrix (xlsx) | Run the GP46 para. 5.2.3(a) maturity self-evaluation at Committee formation and periodically after |
| C11 | Work Procedure & Log Sheet Starters | Seed the operational controls — chiller plant and lighting examples to adapt |
| C12 | EE&C Report Skeleton | Assemble the annual report content in the GP45 structure before entering it in the Commission’s online system |

Get the complete pack, free:  eeca2024.my/enms-pack   ·   anslem@innovast.asia   ·   +60 12 355 6214